CAA

# VENDOR:    						WORKBOOK/ORDER #

# ADDRESS:

# PHONE:  207-

| CLIENT ID Number |  |  | JOB NUMBER |  |
| --- | --- | --- | --- | --- |
| CLIENT NAME |  |  | ORDER DATE |  |
| ADDRESS |  |  | PHONE |  |
| . |  |  |  |  |

WORK ORDERED: (Auditor: XX boxes which apply)	WITHOUT PRIOR AUTHORIZATION DO NOT TO EXCEED $450.00

CLEAN, TUNE AND EVALUATE,  Make Minor Repairs  Replacement Update Tank Move TC-1 if Applicable							ALL WORK TO CODE

| CT&E Procedures: (Technician: initial all that apply) |  | Steady State Efficiency as found (if known) | _____% |
| --- | --- | --- | --- |
| Clean, brush & vacuum heating system | ________ | Air filters replaced | ______ |
| Check for oil leaks | ________ | Electrodes cleaned __________ Replaced | ______ |
| Belts OK | ________ | Water glass cleaned __________ Replaced | ______ |
| Chimney & flue pipe OK | ________ | Pump strainer & inner housing cleaned | ______ |
| Controls operate properly | ________ | All covers & plates sealed to prevent combustion gas escape | ______ |
| Barometric operates properly | ________ | Fuel/air mixture properly adjusted | ______ |
| Thermostat OK & located properly | ________ | Nozzle replaced | ______ |
| Low water cutoff flushed | ________ | Firing rate optimized | ______ |
| Motors lubricated | ________ | Oil filter replaced | ______ |

CT&E Results: (Technician: Fill in all blanks.)

Pump pressure:   _______             Draft (over fire): ______             Draft (stack): ______              Smoke #: ________             CO2/ O2: ________

Gross stack temp: ______             Net stack Temp: ______  			       Steady State Efficiency (after cleaning)    ________%

Code violations notes:  			___   ___________________________________

Technician Signature __________________________________           License # ___________________           Date:  _________________

Install the following measures in a manner, which will properly satisfy manufacturer’s instructions and State of Maine Oil Solid Fuel Board Code.

REMOVE AND DISPOSE OF EXISTING HEATING SYSTEM.

. 																				                      ALL WORK TO CODE.

Installer must provide the following information & sign below)

Pump pressure: _______              Draft (over fire): ______              Draft (stack): ______               Smoke #: ________              CO2/ O2: ________

Gross stack temp: ______             Net stack temp: ______  		                               Post retrofit Steady State Efficiency     _______%

I certify that the work specified above has been completed in accord with manufacturer’s instructions and all applicable code.

Installer Signature ___________________________________              License # ___________________      Date ______________